## Service Line Inventory
DEP_10-S_00014.3 |  |  | Service Line Inventory Report
06/2022 |  |  | New Jersey Department of Environmental Protection
Division of Water Supply and Geoscience - Water System Operations Element
I. System Information |  |  |  | II. Contact Information for Owner/ Licensed Operator of Record Completing the Form
Water System Name: | Aqua NJ_Riegel Ridge |  |  | Contact Name: |  | Alissa Vanim
PWSID Number: | NJ1015003 |  |  | Contact Title: |  | Manager of Environmental Compliance
|  |  |  | Contact Phone: |  | 609-587-4080 x56526
|  |  |  | Contact Email: |  | arvanim@aquaamerica.com
III. Inventory Information
Owner of Service Lines:
[9 empty] | Selection | Number of sites
I. Lead
II. Galvanized | [9 empty] | 14
III. Lead gooseneck, pigtail, or connector
IV. Lead Status Unknown | [9 empty] | 20
V. Non-lead | [9 empty] | 206
|  | # of LSLs to be replaced/identified: |  | 34 |  |  | # of LSLs to be replaced annually: |  |  | 1.4
|  | Total # of service lines in PCWS: |  | 240 |  |  | # of known LSLs |  |  | 14
IV. Inventory Availability
This inventory has been made publicly accessible by:
| If 3,300 customers or greater: Posting the inventory on my water system's website | [5 empty] | Website: | https://www.aquawater.com/about/states-we-serve/new-jersey.php
| If under 3,300 customers: Posting the inventory in a publicly accessible place, if a website is not available | [5 empty] | Inventory is available via: |  |  | See website above
V. Certifications
By submitting this form, I have verified and certify the information listed in this form is true and accurate to the best of my knowledge and belief.
| Larry Carson |  |  |  | 2023-07-10 |  |  | President
| Water System Owner or Licensed Operator Name |  |  |  | Date |  |  | Title (if WS Owner)
| LRCarson@aquaamerica.com |  |  |  | 609-587-4080
| Email |  |  |  | Phone Number |  |  | License Number (if LO)
*This form must be submitted by the Water System Owner or its Licensed Operator of Record.*
Property Owner
System
Both

## Service Line Inventory Table
PBCU Sample Site ID (e.g. PBCU01) (Optional) | Street Address | Zip Code | Town | Lot (Optional) | Block (Optional) | Easting (X) (Optional) | Northing (Y) (Optional) | Latitude (Optional) | Longitude (Optional) | Locational Identifier (Optional) | Service Line Category | Suspected to be lead? (Y/N) (Complete if answered UL for column L) | Public Service Line Materials | Public Service Line - Other Materials (Provide only if Column N is indicated as O) | Customer Service Line Materials | Customer Service Line - Other Materials (Only provide if Column P is indicated as O) | PWS Service Line Install Date (Optional) | Customer Service Line Install Date (optional) | Service Line Length (ft.) (Optional) | PCWS Service Line - Verification Source | PCWS Service Line - Other Source (Provide only if Column U is indicated as O) | PCWS Service Line - Reasoning | PCWS Service Line - Steps to be Taken to ID | Customer Service Line - Verification Source | Customer Service Line - Other Source (Provide only if Column Y is indicated as O) | Customer Service Line- Reasoning | Customer Service Line - Steps to be Taken to ID | Attachments (Y/N) (Optional) | PCWS Service Line Diameter (Optional)2 | Customer Service Line Diameter (optional) | Building Type (Optional) | PCWS Comments (Optional) | DEP Comments
| 2 WHALEY ST, MILFORD, NJ 08848-1535 | 08848-1535 | MILFORD |  |  |  |  | 40.6116 | -75.1195 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 CLARKSON ST, MILFORD, NJ 08848-1534 | 08848-1534 | MILFORD |  |  |  |  | 40.6117 | -75.1178 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 19 CLARKSON ST, MILFORD, NJ 08848-1534 | 08848-1534 | MILFORD |  |  |  |  | 40.6121 | -75.1167 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 CLARKSON ST, MILFORD, NJ 08848-1534 | 08848-1534 | MILFORD |  |  |  |  | 40.6116 | -75.1182 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 6 CLARKSON ST, MILFORD, NJ 08848-1533 | 08848-1533 | MILFORD |  |  |  |  | 40.611 | -75.1187 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 CLARKSON ST, MILFORD, NJ 08848-1534 | 08848-1534 | MILFORD |  |  |  |  | 40.6113 | -75.1189 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 49 GRIDLEY CIR, MILFORD, NJ 08848-1611 | 08848-1611 | MILFORD |  |  |  |  | 40.6115 | -75.1203 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 90 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6139 | -75.1255 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 32 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6111 | -75.1237 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 30 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.611 | -75.1241 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6096 | -75.1218 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 34 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6113 | -75.1233 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 36 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6115 | -75.1229 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 28 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6107 | -75.1244 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 38 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6116 | -75.1226 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6126 | -75.1268 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6123 | -75.1262 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 31 GRIDLEY CIR, MILFORD, NJ 08848-1611 | 08848-1611 | MILFORD |  |  |  |  | 40.6106 | -75.1233 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6117 | -75.1268 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 50 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6121 | -75.1202 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6113 | -75.1267 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6107 | -75.126 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 27 GRIDLEY CIR, MILFORD, NJ 08848-1611 | 08848-1611 | MILFORD |  |  |  |  | 40.6104 | -75.1237 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.6036 | -75.116 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.6033 | -75.1159 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.603 | -75.1158 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.6023 | -75.1155 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6109 | -75.1268 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 33 GRIDLEY CIR, MILFORD, NJ 08848-1611 | 08848-1611 | MILFORD |  |  |  |  | 40.6108 | -75.1229 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6115 | -75.1258 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.612 | -75.127 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 43 GRIDLEY CIR, MILFORD, NJ 08848-1611 | 08848-1611 | MILFORD |  |  |  |  | 40.6114 | -75.1212 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6118 | -75.1259 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6109 | -75.1268 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 48 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6121 | -75.1207 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 44 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.612 | -75.1215 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 40 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6118 | -75.1222 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 47 GRIDLEY CIR, MILFORD, NJ 08848-1611 | 08848-1611 | MILFORD |  |  |  |  | 40.6115 | -75.1207 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 95 ANDERSEN RD, MILFORD, NJ 08848-1642 | 08848-1642 | MILFORD |  |  |  |  | 40.6136 | -75.1257 |  | G |  | G |  | O | Black Iron |  |  |  | F1 |  |  |  | F1
| 61 ANDERSEN RD, MILFORD, NJ 08848-1642 | 08848-1642 | MILFORD |  |  |  |  | 40.6134 | -75.1244 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 80 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6139 | -75.125 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 9 DRAKE CT, MILFORD, NJ 08848-1633 | 08848-1633 | MILFORD |  |  |  |  | 40.6111 | -75.1256 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 41 GRIDLEY CIR, MILFORD, NJ 08848-1611 | 08848-1611 | MILFORD |  |  |  |  | 40.6113 | -75.1217 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 70 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6138 | -75.1244 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 60 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6138 | -75.1238 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 50 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6138 | -75.1232 |  | UL | N | C |  | UX |  |  |  |  | F1
| 40 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6137 | -75.1227 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 30 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6137 | -75.1221 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 20 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6136 | -75.1214 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6136 | -75.1209 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 ANDERSEN RD, MILFORD, NJ 08848-1637 | 08848-1637 | MILFORD |  |  |  |  | 40.6136 | -75.1203 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 GREEN ST, MILFORD, NJ 08848-1530 | 08848-1530 | MILFORD |  |  |  |  | 40.6129 | -75.1162 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 17 WHALEY ST, MILFORD, NJ 08848-1536 | 08848-1536 | MILFORD |  |  |  |  | 40.6129 | -75.1167 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 WHALEY ST, MILFORD, NJ 08848-1535 | 08848-1535 | MILFORD |  |  |  |  | 40.6125 | -75.1168 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 GREEN & CLARKSON STS, MILFORD, NJ 08848-9803 | 08848-9803 | MILFORD |  |  |  |  | 40.6122 | -75.116 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 20 CLARKSON ST, MILFORD, NJ 08848-1533 | 08848-1533 | MILFORD |  |  |  |  | 40.6117 | -75.1164 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 CLARKSON ST, MILFORD, NJ 08848-1533 | 08848-1533 | MILFORD |  |  |  |  | 40.6115 | -75.1168 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 CLARKSON ST, MILFORD, NJ 08848-1533 | 08848-1533 | MILFORD |  |  |  |  | 40.6114 | -75.1172 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 CLARKSON ST, MILFORD, NJ 08848-1534 | 08848-1534 | MILFORD |  |  |  |  | 40.6118 | -75.1173 |  | UL | N | C |  | UX |  |  |  |  | F1
| 1 CLARKSON ST, MILFORD, NJ 08848-1534 | 08848-1534 | MILFORD |  |  |  |  | 40.6111 | -75.1195 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 CLARKSON ST, MILFORD, NJ 08848-1533 | 08848-1533 | MILFORD |  |  |  |  | 40.6106 | -75.1196 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 910 MILFORDWG RD UNIT RECCTR, MILFORD, NJ 08848-0263 | 08848-0263 | MILFORD |  |  |  |  | 40.6108 | -75.1156 |  | G |  | G |  | G |  |  |  |  | F1 |  |  |  | F1
| 910 MILFORDWG RD UNIT POOL, MILFORD, NJ 08848-0263 | 08848-0263 | MILFORD |  |  |  |  | 40.6108 | -75.1157 |  | UL | N | UX |  | UX
| 914 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1619 | 08848-1619 | MILFORD |  |  |  |  | 40.6104 | -75.1183 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 1 UPPER OAK LN, MILFORD, NJ 08848-1514 | 08848-1514 | MILFORD |  |  |  |  | 40.6084 | -75.1195 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 UPPER OAK LN, MILFORD, NJ 08848-1514 | 08848-1514 | MILFORD |  |  |  |  | 40.6086 | -75.1188 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 UPPER OAK LN, MILFORD, NJ 08848-1514 | 08848-1514 | MILFORD |  |  |  |  | 40.6089 | -75.1185 |  | UL | N | UX |  | UX
| 7 UPPER OAK LN, MILFORD, NJ 08848-1514 | 08848-1514 | MILFORD |  |  |  |  | 40.609 | -75.1181 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 39 GRIDLEY CIR, MILFORD, NJ 08848-1611 | 08848-1611 | MILFORD |  |  |  |  | 40.6112 | -75.1221 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 37 GRIDLEY CIR, MILFORD, NJ 08848-1611 | 08848-1611 | MILFORD |  |  |  |  | 40.611 | -75.1225 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 46 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6121 | -75.1211 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 9 UPPER OAK LN, MILFORD, NJ 08848-1514 | 08848-1514 | MILFORD |  |  |  |  | 40.6092 | -75.1178 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 UPPER OAK LN, MILFORD, NJ 08848-1514 | 08848-1514 | MILFORD |  |  |  |  | 40.6094 | -75.1174 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 UPPER OAK LN, MILFORD, NJ 08848-1515 | 08848-1515 | MILFORD |  |  |  |  | 40.609 | -75.1171 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 UPPER OAK LN, MILFORD, NJ 08848-1515 | 08848-1515 | MILFORD |  |  |  |  | 40.6089 | -75.1175 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 UPPER OAK LN, MILFORD, NJ 08848-1515 | 08848-1515 | MILFORD |  |  |  |  | 40.6085 | -75.1182 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 UPPER OAK LN, MILFORD, NJ 08848-1515 | 08848-1515 | MILFORD |  |  |  |  | 40.6082 | -75.1189 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 OAK LN, MILFORD, NJ 08848-1513 | 08848-1513 | MILFORD |  |  |  |  | 40.6082 | -75.118 |  | G |  | G |  | G |  |  |  |  | F1 |  |  |  | F1
| 7 OAK LN, MILFORD, NJ 08848-1513 | 08848-1513 | MILFORD |  |  |  |  | 40.6084 | -75.1176 |  | UL | N | UX |  | UX
| 11 OAK LN, MILFORD, NJ 08848-1513 | 08848-1513 | MILFORD |  |  |  |  | 40.6088 | -75.1168 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 OAK LN, MILFORD, NJ 08848-1512 | 08848-1512 | MILFORD |  |  |  |  | 40.6083 | -75.1166 |  | UL | N | C |  | UX |  |  |  |  | F1
| 10 OAK LN, MILFORD, NJ 08848-1512 | 08848-1512 | MILFORD |  |  |  |  | 40.6081 | -75.1171 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 OAK LN, MILFORD, NJ 08848-1512 | 08848-1512 | MILFORD |  |  |  |  | 40.6079 | -75.1176 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 OAK LN, MILFORD, NJ 08848-1512 | 08848-1512 | MILFORD |  |  |  |  | 40.6077 | -75.1184 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 OAK LN, MILFORD, NJ 08848-1512 | 08848-1512 | MILFORD |  |  |  |  | 40.6078 | -75.1193 |  | UL | N | UX |  | UX
| 1 MAPLEWOOD RD, MILFORD, NJ 08848-1510 | 08848-1510 | MILFORD |  |  |  |  | 40.6073 | -75.1191 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 MAPLEWOOD RD, MILFORD, NJ 08848-1510 | 08848-1510 | MILFORD |  |  |  |  | 40.6073 | -75.1186 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 MAPLEWOOD RD, MILFORD, NJ 08848-1510 | 08848-1510 | MILFORD |  |  |  |  | 40.6073 | -75.118 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 MAPLEWOOD RD, MILFORD, NJ 08848-1510 | 08848-1510 | MILFORD |  |  |  |  | 40.6074 | -75.1175 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 MAPLEWOOD RD, MILFORD, NJ 08848-1510 | 08848-1510 | MILFORD |  |  |  |  | 40.6077 | -75.117 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 MAPLEWOOD RD, MILFORD, NJ 08848-1510 | 08848-1510 | MILFORD |  |  |  |  | 40.6078 | -75.1165 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 60 MILLVIEW RD, MILFORD, NJ 08848-1500 | 08848-1500 | MILFORD |  |  |  |  | 40.6081 | -75.1152 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 MAPLEWOOD RD, MILFORD, NJ 08848-1511 | 08848-1511 | MILFORD |  |  |  |  | 40.6075 | -75.1161 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 MAPLEWOOD RD, MILFORD, NJ 08848-1511 | 08848-1511 | MILFORD |  |  |  |  | 40.6071 | -75.1168 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 MAPLEWOOD RD, MILFORD, NJ 08848-1511 | 08848-1511 | MILFORD |  |  |  |  | 40.607 | -75.1173 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 MAPLEWOOD RD, MILFORD, NJ 08848-1511 | 08848-1511 | MILFORD |  |  |  |  | 40.6069 | -75.1179 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 914 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1619 | 08848-1619 | MILFORD |  |  |  |  | 40.6105 | -75.1183 |  | UL | N | C |  | UX |  |  |  |  | F1
| 914 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1619 | 08848-1619 | MILFORD |  |  |  |  | 40.6104 | -75.1182 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 42 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6119 | -75.1218 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 801 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1650 | 08848-1650 | MILFORD |  |  |  |  | 40.6044 | -75.119 |  | UL | N | UX |  | UX
| 910 MILFORDWG RD UNIT BALLFD, MILFORD, NJ 08848 | 08848 | MILFORD |  |  |  |  | 40.6107 | -75.1154 |  | UL | N | C |  | UX |  |  |  |  | F1
| 910 MILFORDWG RD-YARD HYD, MILFORD, NJ 08848 | 08848 | MILFORD |  |  |  |  | 40.6106 | -75.1157 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 18 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.609 | -75.1244 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 HILLSIDE LN, MILFORD, NJ 08848-1607 | 08848-1607 | MILFORD |  |  |  |  | 40.602 | -75.1208 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 GARDNER WAY, MILFORD, NJ 08848-1634 | 08848-1634 | MILFORD |  |  |  |  | 40.6007 | -75.1193 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 MAPLEWOOD RD, MILFORD, NJ 08848-1511 | 08848-1511 | MILFORD |  |  |  |  | 40.6069 | -75.1184 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 MAPLEWOOD RD, MILFORD, NJ 08848-1511 | 08848-1511 | MILFORD |  |  |  |  | 40.6068 | -75.1188 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 SYCAMORE RD, MILFORD, NJ 08848-1509 | 08848-1509 | MILFORD |  |  |  |  | 40.6064 | -75.1188 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 SYCAMORE RD, MILFORD, NJ 08848-1509 | 08848-1509 | MILFORD |  |  |  |  | 40.6065 | -75.1183 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 SYCAMORE RD, MILFORD, NJ 08848-1509 | 08848-1509 | MILFORD |  |  |  |  | 40.6065 | -75.1177 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 SYCAMORE RD, MILFORD, NJ 08848-1509 | 08848-1509 | MILFORD |  |  |  |  | 40.6066 | -75.1173 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 SYCAMORE RD, MILFORD, NJ 08848-1509 | 08848-1509 | MILFORD |  |  |  |  | 40.6068 | -75.1167 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 SYCAMORE RD, MILFORD, NJ 08848-1509 | 08848-1509 | MILFORD |  |  |  |  | 40.6069 | -75.1161 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 SYCAMORE RD, MILFORD, NJ 08848-1509 | 08848-1509 | MILFORD |  |  |  |  | 40.6071 | -75.1156 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 SYCAMORE RD, MILFORD, NJ 08848-1508 | 08848-1508 | MILFORD |  |  |  |  | 40.6067 | -75.1152 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 SYCAMORE RD, MILFORD, NJ 08848-1508 | 08848-1508 | MILFORD |  |  |  |  | 40.6066 | -75.1158 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 SYCAMORE RD, MILFORD, NJ 08848-1508 | 08848-1508 | MILFORD |  |  |  |  | 40.6065 | -75.1163 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 SYCAMORE RD, MILFORD, NJ 08848-1508 | 08848-1508 | MILFORD |  |  |  |  | 40.6063 | -75.1168 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 SYCAMORE RD, MILFORD, NJ 08848-1508 | 08848-1508 | MILFORD |  |  |  |  | 40.6062 | -75.1173 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 SYCAMORE RD, MILFORD, NJ 08848-1508 | 08848-1508 | MILFORD |  |  |  |  | 40.6061 | -75.1178 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 SYCAMORE RD, MILFORD, NJ 08848-1508 | 08848-1508 | MILFORD |  |  |  |  | 40.606 | -75.1183 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 ELMHURST RD, MILFORD, NJ 08848-1506 | 08848-1506 | MILFORD |  |  |  |  | 40.6056 | -75.1184 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 ELMHURST RD, MILFORD, NJ 08848-1506 | 08848-1506 | MILFORD |  |  |  |  | 40.6056 | -75.1179 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 ELMHURST RD, MILFORD, NJ 08848-1506 | 08848-1506 | MILFORD |  |  |  |  | 40.6057 | -75.1174 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 ELMHURST RD, MILFORD, NJ 08848-1506 | 08848-1506 | MILFORD |  |  |  |  | 40.6058 | -75.1169 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 ELMHURST RD, MILFORD, NJ 08848-1506 | 08848-1506 | MILFORD |  |  |  |  | 40.6059 | -75.1164 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 ELMHURST RD, MILFORD, NJ 08848-1506 | 08848-1506 | MILFORD |  |  |  |  | 40.606 | -75.1159 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 ELMHURST RD, MILFORD, NJ 08848-1506 | 08848-1506 | MILFORD |  |  |  |  | 40.6061 | -75.1153 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 ELMHURST RD, MILFORD, NJ 08848-1506 | 08848-1506 | MILFORD |  |  |  |  | 40.6062 | -75.1148 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 ELMHURST RD, MILFORD, NJ 08848-1507 | 08848-1507 | MILFORD |  |  |  |  | 40.6058 | -75.1149 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 GARDNER WAY, MILFORD, NJ 08848-1634 | 08848-1634 | MILFORD |  |  |  |  | 40.5991 | -75.1184 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 GARDNER WAY, MILFORD, NJ 08848-1634 | 08848-1634 | MILFORD |  |  |  |  | 40.6005 | -75.1181 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 GARDNER WAY, MILFORD, NJ 08848-1634 | 08848-1634 | MILFORD |  |  |  |  | 40.6001 | -75.1192 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 GARDNER WAY, MILFORD, NJ 08848-1634 | 08848-1634 | MILFORD |  |  |  |  | 40.5994 | -75.119 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 GARDNER WAY, MILFORD, NJ 08848-1634 | 08848-1634 | MILFORD |  |  |  |  | 40.5995 | -75.1178 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 55 ANDERSEN RD, MILFORD, NJ 08848-1642 | 08848-1642 | MILFORD |  |  |  |  | 40.6132 | -75.1236 |  | NL |  | O | Unknown Not Lead | O | Unknown Not Lead |  |  |  | RRN |  |  |  | RRN
| 12 ELMHURST RD, MILFORD, NJ 08848-1507 | 08848-1507 | MILFORD |  |  |  |  | 40.6057 | -75.1155 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 ELMHURST RD, MILFORD, NJ 08848-1507 | 08848-1507 | MILFORD |  |  |  |  | 40.6055 | -75.116 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 ELMHURST RD, MILFORD, NJ 08848-1507 | 08848-1507 | MILFORD |  |  |  |  | 40.6055 | -75.1165 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 ELMHURST RD, MILFORD, NJ 08848-1507 | 08848-1507 | MILFORD |  |  |  |  | 40.6054 | -75.117 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 ELMHURST RD, MILFORD, NJ 08848-1507 | 08848-1507 | MILFORD |  |  |  |  | 40.6053 | -75.1175 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 ELMHURST RD, MILFORD, NJ 08848-1507 | 08848-1507 | MILFORD |  |  |  |  | 40.6051 | -75.1182 |  | G |  | G |  | G |  |  |  |  | F1 |  |  |  | F1
| 1 FERNWOOD RD, MILFORD, NJ 08848-1517 | 08848-1517 | MILFORD |  |  |  |  | 40.6047 | -75.1182 |  | UL | N | C |  | UX |  |  |  |  | F1
| 3 FERNWOOD RD, MILFORD, NJ 08848-1517 | 08848-1517 | MILFORD |  |  |  |  | 40.6047 | -75.1177 |  | UL | N | UX |  | UX
| 5 FERNWOOD RD, MILFORD, NJ 08848-1517 | 08848-1517 | MILFORD |  |  |  |  | 40.6048 | -75.1171 |  | G |  | UX |  | G | [8 empty] | F1
| 7 FERNWOOD RD, MILFORD, NJ 08848-1517 | 08848-1517 | MILFORD |  |  |  |  | 40.6049 | -75.1166 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 FERNWOOD RD, MILFORD, NJ 08848-1517 | 08848-1517 | MILFORD |  |  |  |  | 40.605 | -75.116 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 FERNWOOD RD, MILFORD, NJ 08848-1517 | 08848-1517 | MILFORD |  |  |  |  | 40.6051 | -75.1156 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 FERNWOOD RD, MILFORD, NJ 08848-1517 | 08848-1517 | MILFORD |  |  |  |  | 40.6052 | -75.115 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 FERNWOOD RD, MILFORD, NJ 08848-1526 | 08848-1526 | MILFORD |  |  |  |  | 40.6052 | -75.1142 |  | UL | N | O | Black Iron | UX |  |  |  |  | F1
| 15 FERNWOOD RD, MILFORD, NJ 08848-1526 | 08848-1526 | MILFORD |  |  |  |  | 40.6052 | -75.1142 |  | UL | N | UX |  | UX
| 14 FERNWOOD RD, MILFORD, NJ 08848-1516 | 08848-1516 | MILFORD |  |  |  |  | 40.6048 | -75.1147 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 12 FERNWOOD RD, MILFORD, NJ 08848-1516 | 08848-1516 | MILFORD |  |  |  |  | 40.6047 | -75.1152 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 FERNWOOD RD, MILFORD, NJ 08848-1516 | 08848-1516 | MILFORD |  |  |  |  | 40.6046 | -75.1157 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 FERNWOOD RD, MILFORD, NJ 08848-1516 | 08848-1516 | MILFORD |  |  |  |  | 40.6045 | -75.1162 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 FERNWOOD RD, MILFORD, NJ 08848-1516 | 08848-1516 | MILFORD |  |  |  |  | 40.6044 | -75.1167 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 FERNWOOD RD, MILFORD, NJ 08848-1516 | 08848-1516 | MILFORD |  |  |  |  | 40.6043 | -75.1173 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 802 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1648 | 08848-1648 | MILFORD |  |  |  |  | 40.6041 | -75.1179 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 ROLLING GREEN DR, MILFORD, NJ 08848-1541 | 08848-1541 | MILFORD |  |  |  |  | 40.6026 | -75.1174 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 ROLLING GREEN DR, MILFORD, NJ 08848-1541 | 08848-1541 | MILFORD |  |  |  |  | 40.6026 | -75.1169 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 ROLLING GREEN DR, MILFORD, NJ 08848-1541 | 08848-1541 | MILFORD |  |  |  |  | 40.6027 | -75.1164 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 HOOK DR, MILFORD, NJ 08848-1538 | 08848-1538 | MILFORD |  |  |  |  | 40.6031 | -75.1166 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 HOOK DR, MILFORD, NJ 08848-1538 | 08848-1538 | MILFORD |  |  |  |  | 40.6034 | -75.1167 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 HOOK DR, MILFORD, NJ 08848-1538 | 08848-1538 | MILFORD |  |  |  |  | 40.6031 | -75.117 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 HOOK DR, MILFORD, NJ 08848-1538 | 08848-1538 | MILFORD |  |  |  |  | 40.6032 | -75.1176 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 19 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.6037 | -75.1177 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 17 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.6038 | -75.1173 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 15 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.604 | -75.1168 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 13 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.6039 | -75.1164 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.6027 | -75.1156 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 HOOK DR, MILFORD, NJ 08848-1539 | 08848-1539 | MILFORD |  |  |  |  | 40.602 | -75.1154 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 SHANK RD, MILFORD, NJ 08848-1542 | 08848-1542 | MILFORD |  |  |  |  | 40.6014 | -75.1151 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 SHANK RD, MILFORD, NJ 08848-1542 | 08848-1542 | MILFORD |  |  |  |  | 40.6014 | -75.1155 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 SHANK RD, MILFORD, NJ 08848-1542 | 08848-1542 | MILFORD |  |  |  |  | 40.6013 | -75.1159 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 SHANK RD, MILFORD, NJ 08848-1542 | 08848-1542 | MILFORD |  |  |  |  | 40.6011 | -75.1163 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 SHANK RD, MILFORD, NJ 08848-1543 | 08848-1543 | MILFORD |  |  |  |  | 40.6016 | -75.1171 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 SHANK RD, MILFORD, NJ 08848-1543 | 08848-1543 | MILFORD |  |  |  |  | 40.6018 | -75.1166 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 HOOK DR, MILFORD, NJ 08848-1537 | 08848-1537 | MILFORD |  |  |  |  | 40.6019 | -75.1162 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 ROLLING GREEN DR, MILFORD, NJ 08848-1540 | 08848-1540 | MILFORD |  |  |  |  | 40.6022 | -75.1162 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 ROLLING GREEN DR, MILFORD, NJ 08848-1540 | 08848-1540 | MILFORD |  |  |  |  | 40.6021 | -75.1167 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 ROLLING GREEN DR, MILFORD, NJ 08848-1540 | 08848-1540 | MILFORD |  |  |  |  | 40.602 | -75.1173 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 740 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1647 | 08848-1647 | MILFORD |  |  |  |  | 40.6013 | -75.1171 |  | G |  | UX |  | G | [8 empty] | F1
| 2 CROUSE RD, MILFORD, NJ 08848-1600 | 08848-1600 | MILFORD |  |  |  |  | 40.6016 | -75.1179 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 CROUSE RD, MILFORD, NJ 08848-1600 | 08848-1600 | MILFORD |  |  |  |  | 40.6015 | -75.1186 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 CROUSE RD, MILFORD, NJ 08848-1601 | 08848-1601 | MILFORD |  |  |  |  | 40.6016 | -75.1199 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 HILLSIDE LN, MILFORD, NJ 08848-1606 | 08848-1606 | MILFORD |  |  |  |  | 40.6024 | -75.1201 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 HILLSIDE LN, MILFORD, NJ 08848-1606 | 08848-1606 | MILFORD |  |  |  |  | 40.6021 | -75.12 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 HILLSIDE LN, MILFORD, NJ 08848-1606 | 08848-1606 | MILFORD |  |  |  |  | 40.6022 | -75.1194 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 FAIRVIEW RD, MILFORD, NJ 08848-1603 | 08848-1603 | MILFORD |  |  |  |  | 40.6027 | -75.119 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 FAIRVIEW RD, MILFORD, NJ 08848-1603 | 08848-1603 | MILFORD |  |  |  |  | 40.6019 | -75.1187 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 761 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1626 | 08848-1626 | MILFORD |  |  |  |  | 40.602 | -75.1181 |  | UL | N | UX |  | UX
| 771 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1626 | 08848-1626 | MILFORD |  |  |  |  | 40.6025 | -75.1182 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 781 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1626 | 08848-1626 | MILFORD |  |  |  |  | 40.6032 | -75.1185 |  | UL | N | UX |  | UX
| 791 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1626 | 08848-1626 | MILFORD |  |  |  |  | 40.6036 | -75.1187 |  | UL | N | UX |  | UX
| 813 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1650 | 08848-1650 | MILFORD |  |  |  |  | 40.6049 | -75.1192 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 821 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1650 | 08848-1650 | MILFORD |  |  |  |  | 40.605 | -75.1204 |  | UL | N | UX |  | P | [8 empty] | F1
| 831 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1650 | 08848-1650 | MILFORD |  |  |  |  | 40.6057 | -75.1194 |  | G |  | C |  | G |  |  |  |  | F1 |  |  |  | F1
| 839 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1650 | 08848-1650 | MILFORD |  |  |  |  | 40.6061 | -75.1197 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 HILLBROOK LN, MILFORD, NJ 08848-1612 | 08848-1612 | MILFORD |  |  |  |  | 40.6063 | -75.1211 |  | UL | N | UX |  | UX
| 863 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1627 | 08848-1627 | MILFORD |  |  |  |  | 40.6074 | -75.1199 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| HYDRANTS, MILFORD, NJ 08848 | 08848 | MILFORD | [7 empty] | UL | N | UX |  | UX
| 1 WHALEY ST, MILFORD, NJ 08848-1536 | 08848-1536 | MILFORD |  |  |  |  | 40.6121 | -75.1196 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 69 ANDERSEN RD, MILFORD, NJ 08848-1642 | 08848-1642 | MILFORD |  |  |  |  | 40.6128 | -75.1238 |  | G |  | G |  | C |  |  |  |  | F1 |  |  |  | F1
| 912 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1619 | 08848-1619 | MILFORD |  |  |  |  | 40.6113 | -75.114 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 971 MILFORD WARREN GLEN RD, MILFORD, NJ 08848-1630 | 08848-1630 | MILFORD |  |  |  |  | 40.6131 | -75.1207 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6081 | -75.1202 |  | NL |  | P |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 GRIDLEY CIR, MILFORD, NJ 08848-1610 | 08848-1610 | MILFORD |  |  |  |  | 40.6087 | -75.1203 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 1 FAIRVIEW RD, MILFORD, NJ 08848-1604 | 08848-1604 | MILFORD |  |  |  |  | 40.6014 | -75.1192 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 GRIDLEY CIR, MILFORD, NJ 08848-1610 | 08848-1610 | MILFORD |  |  |  |  | 40.6087 | -75.1217 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6081 | -75.1225 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 7 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6097 | -75.1213 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6106 | -75.1208 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6081 | -75.122 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 GRIDLEY CIR, MILFORD, NJ 08848-1610 | 08848-1610 | MILFORD |  |  |  |  | 40.6087 | -75.1221 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6081 | -75.1212 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6081 | -75.1208 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6103 | -75.1218 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6095 | -75.1223 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 9 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6097 | -75.1208 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 HILLBROOK LN, MILFORD, NJ 08848-1612 | 08848-1612 | MILFORD |  |  |  |  | 40.6067 | -75.1197 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 4 HILLBROOK LN, MILFORD, NJ 08848-1612 | 08848-1612 | MILFORD |  |  |  |  | 40.6065 | -75.1201 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6105 | -75.1213 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 13 GRIDLEY CIR, MILFORD, NJ 08848-1610 | 08848-1610 | MILFORD |  |  |  |  | 40.6089 | -75.123 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 11 GRIDLEY CIR, MILFORD, NJ 08848-1610 | 08848-1610 | MILFORD |  |  |  |  | 40.6087 | -75.1226 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 3 GRIDLEY CIR, MILFORD, NJ 08848-1610 | 08848-1610 | MILFORD |  |  |  |  | 40.6087 | -75.1208 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 6 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6097 | -75.1233 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 14 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6084 | -75.1236 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 5 GRIDLEY CIR, MILFORD, NJ 08848-1610 | 08848-1610 | MILFORD |  |  |  |  | 40.6087 | -75.1213 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 10 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6102 | -75.1222 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 12 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6101 | -75.1227 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 8 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6081 | -75.1216 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 16 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6087 | -75.124 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 18 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6103 | -75.1206 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 2 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6093 | -75.1238 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 4 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6095 | -75.1234 |  | NL |  | C |  | P |  |  |  |  | F1 |  |  |  | F1
| 11 DELAWARE DR, MILFORD, NJ 08848-1608 | 08848-1608 | MILFORD |  |  |  |  | 40.6101 | -75.1205 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 20 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6094 | -75.1246 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 24 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6101 | -75.1245 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 26 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6104 | -75.1245 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1
| 22 GRIDLEY CIR, MILFORD, NJ 08848-1609 | 08848-1609 | MILFORD |  |  |  |  | 40.6097 | -75.1246 |  | NL |  | C |  | C |  |  |  |  | F1 |  |  |  | F1