- IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER*

- Cooperstown Water System (PWSID# PA6610017)

BOIL WATER NOTICE LIFTED

HIERVAN EL AGUA ANTES DE USARLA.

ESTE INFORME CONTIENE INFORMACION MUY IMPORTANTE SOBRE SU AGUA DE BEBER.

TRADUZCALO O HABLE CON ALGUIEN QUE LO ENTIENDA BIEN.

The Boil Water Notice issued on April 30, 2025 for the Cooperstown Water System has been lifted effective today, May 3, 2025.

Aqua Pennsylvania has lifted the boil water advisory issued on April 30, 2025.  A boil water advisory was issued for customers in the Cooperstown Water Company due to a loss of positive pressure in the distribution system from a water main break. Two consecutive days of water samples have been collected from the distribution system and tested for total coliform bacteria. The results for both sets of testing were received on May 3, 2025 and showed the absence of bacteria, allowing Aqua to lift the boil advisory.

It is no longer necessary to use boiled water or bottled water for drinking, making ice, brushing teeth, washing dishes and food preparation.

Aqua is committed to providing quality water and service to its customers. We apologize for the inconvenience and thank you for your patience. Although this matter has been resolved, if you have any questions or concerns, please contact Aqua’s Customer Service at 877.987.2782.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

For more information, please contact:

| Responsible Person Zach Martin | System Name Cooperstown Water System | Address (Street) 665 S. Dock St. |
| --- | --- | --- |
| Phone Number 877.987.2782 | System PWSID# PA6610017 | Address (City, State, Zip) Sharon PA, 16146 |

##### Date Notice Distributed: April 30, 2025

##### Date Notice Lifted: May 3, 2025

* This notice contains required or recommended regulatory language, and nothing herein is, is intended as, nor should be construed as, a promise of or contract for payment or reimbursement of expenses incurred for any action you take on account of this notice.