NOTICE TO THE PUBLIC

- IMPORTANT INFORMATION ABOUT YOUR DRINKING WATER

- Venango Water Company (PWSID# PA6610014)

#### BOIL YOUR WATER BEFORE CONSUMPTION

Hiervan el agua antes de usarla.

ESTE INFORME CONTIENE INFORMACION IMPORTANTE ACERCA DE SU AGUA POTABLE.

HAGA QUE ALGUIEN LO TRADUZCA PARA USTED, O HABLE CON ALGUIEN QUE LO ENTIENDA.

September 8, 2025: Aqua has issued a boil water advisory due to the presence of coliform bacteria in initial samples collected from bulk water trucks that supplement water supply in the system.  Aqua customers receiving this notice are advised to use boiled or bottled water for drinking, making ice, brushing teeth, washing dishes and food preparation until further notice. You will be notified when this advisory is lifted.

What should I do?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST.  Bring all water to a boil, let it boil for one minute, and let it cool before using, or use bottled water.  Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice.  Boiling kills bacteria and other organisms in the water.

- Inadequately treated or inadequately protected water may contain disease-causing organisms.  These organisms include bacteria, viruses, and parasites which can cause symptoms such as diarrhea, nausea, cramps, and associated headaches.

- These symptoms above are not caused only by organisms in drinking water.  If you experience any of these symptoms and they persist, you may want to seek medical advice.  Guardians of infants and young children and people at increased risk, such as pregnant women, some of the elderly and people with severely compromised immune systems, should seek advice from their health care advisors about drinking this water.

## What happened? What is being done?  When will the problem be corrected?

On September 7, 2025, bulk water was delivered to the Venango Water System and tested according to Pennsylvania Department of Environmental Protection guidelines. On September 8, results from bacteriological samples indicated potential contamination. Regulations require that additional sampling be conducted to confirm the presence of any contaminants before a formal advisory is issued. However, out of an abundance of caution, Aqua is issuing a Boil Water Advisory to customers of the Venango water system.

Although disinfectant levels were within acceptable limits, Aqua is actively working to resolve the issue and is collecting more water samples to ensure the water meets all drinking water standards.

Until satisfactory bacteriological sample results are received from the laboratory, Aqua customers are advised to use boiled or bottled water for drinking, making ice, brushing teeth, washing dishes and food preparation until further notice. If you have any questions, please contact Aqua’s customer service at 1.877.987.2782 or visit: https://aquawater.com/rhodes

General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 800.426.4791.

Boil Water Advisory response information for retail grocery and food establishments is available here:

https://www.agriculture.pa.gov/consumer_protection/FoodSafety/Pages/Emergency-Response.aspx

For more information, please contact:

| Responsible Person Glen Wykoff, Field Supervisor | System Name Venango Water Company | Address (Street) 665 S. Dock St. |
| --- | --- | --- |
| Phone Number 877-987-2782 | System PWSID# PA6610014 | Address (City, State, Zip) Sharon, PA 16146 |

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or by distributing copies by hand or mail.

* This notice contains required or recommended regulatory language, and nothing herein is, is intended as, nor should be construed as, a promise of or contract for payment or reimbursement of expenses incurred for any action you take on account of this notice.